## Slide 1: VELALAR COLLEGE OF ENGINEERING AND TECHNOLOGY (AUTONOMOUS) DEPARTMENT OF ELECTRICAL AND ELECTRONICS ENGINEERING (PHASE 1 PROJECT) PV BASED WATER PUMPING SYSTEM DRIVEN BY WHALE OPTIMIZATION ALGORITHM
Presented by
VEERADEEPAK A 21ESR005
Master Of Engineering (Embedded System Technology)
Under The Guidance Of
Dr. K. VANCHINATHAN M.E., Ph.D
ASSOCIATIVE PROFESSOR., EEE.

## Slide 2: INTRODUCTION
Water pumping system (WPS) plays a key role in human civilization, including agriculture, drinking, and industrial usage. photovoltaic (PV)-based WPS is one of the best feasible solutions. brushless direct current motors (BLDCs) are attractive for WPS due to many advantages.
PV-fed BLDC motor based WPS without battery is considered and implemented sensor less speed controller with sliding mode controller.
A hybrid whale optimization–P&O (WOPO) algorithm can effectively work to extract the maximum possible power from PV during both PSC and normal condition.
In order to reduce the cost of system, the inverter is also working as an MPPT device for the PV system by integrating the WOPO algorithm with SMC of inverter.
Hence, an extra dc–dc converter will not be required for MPPT.

## Slide 3: OBJECTIVE
High motor Efficiency
decrease the cost and required maintenance
water pumping system running without energy storage
SCOPE
Low cost efficiency
easy to get the system usefull to formers
and free maintenance

## Slide 4: LITERATURE SURVEY
SI.NO | TITLES | CONCEPT | DISADVANTAGE
1 | Solar water pumping system for agriculture | PV and battery use to save power , run motor to water pumping system | Difficult maintenances
2 | Novel control of photovoltaic based water pumping system without energy storage | Without battery use to pumping system | Motor cost high
3 | A single- stage sensor less control of a PV-based bore-well submersible BLDC motor | PV use direct current to run BLDC motor | More convertor used
4 | Single-stage PV-grid interactive induction motor drive with improved ﬂux estimation technique for water pumping with reduced sensors | Tracking system and many mode control use system | Very high cost

## Slide 5: PROPOSED METHOD
The proposed model is designed without using any energy storage devices such as battery and extra dc–dc converter for MPPT of PV system for cost-effective model.
It is observed that more energy can be harvested from the PV system with the help of the proposed hybrid WOPO algorithm better than shark optimization algorithm and remora optimization algorithm.
Sliding Mode Controller is good Efficiency compare to robust Sliding Mode Controller
EXISTING METHOD
In this existing method , PV ,UPS, battery use to run the water pumping system and shark optimization algorithm used, dc-to-ac converters and ac-to-dc converters of MPPT system

## Slide 6: REFERENCE
P. Narale and N. S. Rathore, “Solar water pumping system for agricul- ture,” Dept. Renew. Energy Eng., Energetica India, MP Univ. Agricult. Technol., Udaipur India, Tech.
C. N. Bhende and S. G. Malla, “Novel control of photovoltaic based water pumping system without energy storage,” Int. J. Emerg. Electr. Power System
S. Sashidhar, V. Guru Prasad Reddy, and B. G. Fernandes, “A single- stage sensorless control of a PV-based bore-well submersible BLDC motor,” IEEE J. Emerg. Sel. Topics Power Electron.,
S. Shukla and B. Singh, “Single-stage PV-grid interactive induction motor drive with improved ﬂux estimation technique for water pumping with reduced sensors,” IEEE Trans. Power Electron., vol. 35, no. 12, pp. 12988–12999, Dec. 2020